Equipment Maintenance

AIR DOOR CURTAIN

Overview

It is imperative to keep the fans clean as they eventually become coated with residue.  Dirty fans will lower the efficiency and eventually throw fans out of balance which can shorten the life of the blower wheels and cause undue wear on the bearings.

| Task | Who | Frequency |
| --- | --- | --- |
| 1. Clean Fan | Owner | Monthly |

Task Procedures

- Clean the fan by removing the air intake cover and taking a soft nylon brush to loosen dirt and vacuum up.