Equipment Maintenance

HEATING & AIR CONDITIONING SYSTEM – (HVAC)

Overview

Your HVAC system should be maintained according to the manufacturers suggested schedule.  Heating and air conditioning system is something that you will want to get on a regular schedule with your service technician.  Depending upon what level of service agreement you have.

| Task | Who | Frequency |
| --- | --- | --- |
| 1. Clean Filters | Owner | Monthly |
| 2. Clean Air Diffusers | Owner | Quarterly |
| 3. Clean A/C Condenser | Owner | Monthly |
| 4. Yearly Inspection & Cleaning | Trained Professional Service Technician | Yearly |

Task Procedures

- Clean or replace filters monthly depending upon your type of system.

- Clean the air diffusers with a soft damp cloth to remove dust and dirt.

- Clean the outdoor condenser by simply blowing high-pressure compressed air to remove dirt, pollen and dust.

- HVAC system should be professionally cleaned and inspected at least once per year.  This allows an experienced service technician a chance to thoroughly clean and inspect your system.