Equipment Maintenance

ICE CREAM DIPPING CASES

Overview

Most ice cream case manufacturer’s equipment is designed so that a minimum amount of maintenance is necessary.  The relatively few items that do require attention should be scheduled for specific times based on prevailing store conditions and cabinet usage.

| Task | Who | Frequency |
| --- | --- | --- |
| 1. Scrape Interior | Owner | Daily |
| 2. Defrost | Owner | Weekly |
| 3. Clean Condenser | Owner | Monthly |
| 4. Yearly Inspection & Cleaning | Trained Professional Service Technician | Yearly |

Task Procedures

- Daily scraping of the interior will extend the length of time between complete defrosting.  Use a plastic scrapper and never metal.

- Frost accumulation on the interior cabinet wall will affect how the case operates.

- Clean the condenser using a soft nylon brush to loosen dirt and lint.  Then vacuum up the dirt or blow condenser out with high-pressure air.  Never use a wire brush.

- Equipment should be professionally cleaned and inspected at least once per year.  This allows an experienced service technician a chance to thoroughly clean and an opportunity to look for and detect items that may have been overlooked during self performed maintenance.