Equipment Maintenance

REFRIGERATOR & SILVER KING

Overview

Refrigerator and the Silver King are very similar to ice cream cases where a minimum amount of maintenance is required.

| Task | Who | Frequency |
| --- | --- | --- |
| 1. Cleaning | Owner | Daily |
| 2. Clean Condenser | Owner | Monthly |
| 3. Check Door Gasket | Owner | Monthly |
| 4. Yearly Inspection & Cleaning | Trained Professional Service Technician | Yearly |

Task Procedures

- General cleaning of the interior and exterior including the door gasket periodically with soap and water.  Never use an abrasive cleaner.

- Clean the condenser fins by using a soft nylon brush and vacuum up the dirt or blow out with compressed air.  Never use a wire brush to clean condenser fins.

- Check the condition of the door gaskets for cracks and breaks and replace if necessary.  A faulty door gasket will have an impact on the quality of product and efficient running of the unit.

- Equipment should be professionally cleaned and inspected at least once per year.  This allows an experienced service technician a chance to thoroughly clean and an opportunity to look for and detect items that may have been overlooked during self performed maintenance.