Equipment Maintenance

WALK-IN FREEZER

Overview

A yearly inspection by a trained service technician is recommended to check Freon levels and condensing unit.  Preventative maintenance steps that you can perform.

| Task | Who | Frequency |
| --- | --- | --- |
| 1. Clean the condenser | Owner | Monthly |
| 2. Check evaporator | Owner | Monthly |
| 3. Check Door Gasket | Owner | Monthly |
| 4. Yearly Inspection & Cleaning | Trained Professional Service Technician | Yearly |

Task Procedures

- Clean the outdoor condenser by simply blowing high-pressure compressed air to remove dirt, pollen and dust.

- Check the evaporator drip pan drain and make sure it isn’t frozen.

- Check the door gasket for any cracks and replace if necessary.  A defective door gasket will not allow the door to seal properly and affect the quality of product.

- Equipment should be professionally cleaned and inspected at least once per year.  This allows an experienced service technician a chance to thoroughly clean and an opportunity to look for and detect items that may have been overlooked during self performed maintenance.